## Slide 1: Recent Advances in Electron Cloud Buildup Measurements and Models at CESR (Part 2) Stephen Poprocki & Jim Crittenden Cornell University
Accelerator Physics Seminar
October 16, 2018
Brookhaven National Laboratory

## Slide 2: Overview
(Part 1: Simulations of synchrotron-radiation-induced electron production in the CESR vacuum chamber wall)
Part 2: Measurements and model validation of electron-cloud-induced betatron tune shifts in the CESRTA, CHESS and CHESS-U transition lattices and predictions for CHESS-U operation
  Emittance growth measurements
  Improved betatron tune shift measurements
  Fitting e-cloud model parameters to tune shift measurements in CESRTA and CHESS conditions
  Predictions for tune shifts in CHESS-U
  Emittance growth simulations

## Slide 3: Measurements
Beam:
  2.1 GeV positrons or electrons (5.3 GeV for additional tune shifts)
    Horizontal emittance: 3.2 nm, fractional energy spread: 8x10-4, bunch length: 9 mm
  30 bunch train, 0.4 mA/b and 0.7 mA/b, 14 ns spacing (2-6 mA/b at 5.3 GeV)
    (0.64x1010 and 1.12x1010 bunch populations)
  1 witness bunch, 0.25 to 1.0 mA, bunch positions 31 to 60
    Witness bunch position probes cloud as it decays
    Witness bunch current controls strength of pinch effect (cloud pulled in to e+ bunch)
Measure:
  Betatron tunes: using digital tune tracker
    Drive an individual bunch via a gated kicker that is phase locked to the betatron tune
  Vertical bunch size: from X-ray beam size monitor
    Bunch-by-bunch, turn-by-turn
  Horizontal bunch size: from visible light gated camera
    Bunch-by-bunch, single-shot
Bunch-by-bunch feedback on to minimize centroid motion
  Disabled for a single bunch when measuring its tunes
…
1
30
witness

## Slide 4: Beam size
Vertical emittance growth along a train of positron bunches above a threshold current of 0.5 mA/b

## Slide 5: Beam size
Trains of e- bunches do not blow-up
  Indicates e+ emittance growth is due to EC, not another effect
0.7 mA/b e+
0.7 mA/b e-
0.4 mA/b e+
0.4 mA/b e-

## Slide 6: Horizontal beam size
Horizontal beam size also blows-up in 0.7 mA/b e+ train
0.7 mA/b e+
0.7 mA/b e-

## Slide 7: Witness bunch beam size
One witness bunch to a 30 bunch 0.7 mA/b e+ train
  Start with witness at bunch #60, vary current, eject bunch, move to #55…
  For a given witness bunch #, the cloud it sees is the same
    Emittance growth strongly depends on current (pinch effect)

## Slide 8: Tune shift measurements
Tune shifts can be measured various ways:
  “Pinging”: Coherently kicking entire train once, measuring bunch-by-bunch, turn-by-turn positions, and peak-fitting the FFTs
    Fast measurement (whole train at once)
    Multiple peaks from coupled-bunch motion contaminate signal
    Unable to measure horizontal tune shifts from dipoles (vertical stripe of cloud moves with train)
  “Single bunch”: Feedback on all bunches except one. Tune from FFT
    Self-excitation enough but cleaner signal if kicking the single bunch with gated kicker
    Measures horizontal tune shift
  “Digital tune tracker”: Enhancement on above technique, driving the bunch transversely in a phase lock loop with a beam position monitor
    Best method; used here
1) Pinged data
3) Digital tune tracker
5.3 GeV
5.3 GeV
(Revolution frequency: 390 kHz)

## Slide 9: Tune shift measurements
Tune shifts measured at different energies and a wide range of currents
World-wide unique data set
2.1 GeV
5.3 GeV
(Revolution frequency: 390 kHz)

## Slide 10: Simulations
Simulations involve four codes which feed into each other
  Tracking photons from synchrotron radiation (Synrad3D)
    Information on photons absorbed in vacuum chamber
  Photo-electron production (Geant4)
    Quantum efficiencies
    Photo-electron energies
  Electron cloud buildup (ECLOUD)
    Space-charge electric field maps
    Betatron tunes
  Tracking of beam through the lattice with EC elements (Bmad)
    Equilibrium beam size

## Slide 11: 1) Photon tracking
S [m]
x [cm]
Wigglers
Synrad3D
  Simulates photons from synchrotron radiation
  Tracks photons through vacuum chamber including specular & diffuse reflections
  Input: lattice, 3D vacuum chamber profile, material
  Output: information on absorbed photons:
    Azimuthal angle
    Energy
    Grazing angle with vacuum chamber wall

## Slide 12: 2) Photo-electron production
Geant4
  Input: Absorbed photons
    Azimuthal angle
    Energy
    Grazing angle with vacuum chamber wall
  Simulates electron production from photo-electric and Auger effects
  Vacuum chamber material (Aluminum) and surface layer (5 nm carbon-monoxide)
  Output:
    Quantum efficiency vs azimuthal angle
    Photo-electron energy distributions
  QE depends on photon energy & grazing angle which vary azimuthally
  Improvement on ECLOUD model
  Big improvement to predictive ability
    Refer to Part 1 for details
300 eV
5 deg. grazing angle

## Slide 13: 3) EC buildup simulation
EC buildup simulations with ECLOUD in both dipole and field-free regions
Use element-type ring-averaged beam sizes
  Dipole: 730 x 20 um
  Drift: 830 x 20 um
    The large horizontal size is dominated by dispersion
Obtain space-charge electric field maps from the EC for 11 time slices during a single bunch passage, in ±5σ of the transverse beam size
  ∆t = 20 ps
Only ~0.1% of electrons are within this beam region
  Necessary to average over many ECLOUD simulations
Transverse EC charge distributions in an 800 G dipole for bunch 30 of a 0.7 mA/b positron train

## Slide 14: Electric field gradients from cloud space-charge fields
Tune shifts calculated from electric field gradients (dEx/dx, dEy/dy)
Gradient just before a bunch passage ➔ coherent tune shift
  Demonstrated in witness bunch tune measurements (left)
Gradient during pinch ➔ incoherent tune spread, emittance growth
  Demonstrated in witness bunch size measurements (right)

## Slide 15: Calibration of model to tune shift measurements
ECLOUD simulations depend strongly on vacuum chamber secondary electron yield (SEY) parameters
Direct SEY measurements provide a good starting point, but it’s hard to accurately determine all the parameters
Still, the condition in the machine may be different
Use results from copper for our aluminum vacuum chamber
To improve agreement between the ECLOUD model and our various measurements:
  Use an optimizer to fit the SEY parameters to tune shift data
  At each iteration, run ECLOUD simulations in parallel varying each parameter by an adaptive increment
    Calculate Jacobian & provide to optimizer
M. Furman & M. Pivi, “Probabilistic Model for the Simulation of Secondary Electron Emission,” Phys. Rev. ST Accel. Beams 5, 124404 (Dec. 2002)

## Slide 16: Simulated tune shifts with initial SEY parameters
Various discrepancies between model & measurements
However, just getting this close required a sophisticated model
Adjusting SEY parameters to better match data is a final calibration
0.4 mA/b
0.7 mA/b
(Revolution frequency: 390 kHz)
2.1 GeV (CESRTA)
2 mA/b
5.3 GeV (CHESS)
4 mA/b
6 mA/b

## Slide 17: Simulated tune shifts with fit SEY parameters
Excellent agreement for a range of currents and beam energies!
Seeing the different contributions from dipoles & drifts has taught us about cloud dynamics
0.4 mA/b
0.7 mA/b
(Revolution frequency: 390 kHz)
2.1 GeV (CESRTA)
2 mA/b
5.3 GeV (CHESS)
4 mA/b
6 mA/b

## Slide 18: Fit SEY parameters
Fit uncertainties come from covariance matrix, estimated from Jacobian
Correlation matrix (right) shows large correlations between parameters (could be removed from the optimizer)
 | Initial | Fit | Uncertainty
epeak Peak energy of true secondary yield | 277 | 260 | 10
seys True secondary yield 's' parameter | 1.54 | 1.58 | 0.05
rediffused Rediffused secondary yield | 0.2 | 0.39 | 0.01
deltamax True secondary yield | 1.88 | 1.53 | 0.04
semax Energy spread of secondaries | 1.8 | 3.58 | 0.4
tpar1 Angular dependence of true secondary yield | 0.66 | 0.99 | 0.2
tpar2 Power of cosine in angular dependence of true secondary yield | 0.8 | 1.5 | 0.4
tpar3 Angular dependence of peak energy of true secondary yield | 0.7 | 0.77 | 0.5
tpar4 Power of cosine in angular dependence of peak energy of true secondary yield | 1.0 | 1.16 | 1
sepow Power of energy of secondaries | 1.0 | 0.84 | 0.2
p1el Elastic yield at ‘zero’ energy | 0.5 | 0.07 | 0.02
Red is +1
Blue is -1

## Slide 19: CHESS-U Transition Lattice
To gain confidence in this model for predicting tune shifts for CHESS-U, compare with measurements of CHESS-U Transition lattice
  Same optics as CHESS-U except in south arc
Tune shift measurements were taken for two bunch configurations (14 ns bunch spacing)
  18x5 at 1.0 mA/b (90 mA total)
  9x5 (every other train) at 4.4 mA/b (200 mA total)
The 18x5 train was seemingly limited by a horizontal instability, possibly caused by electron cloud
  Investigation underway
9x5 at 4.4 mA/b
18x5 at 1.0 mA/b
CHESS-U transition and CHESS-U results by summer REU student Keefer Rowan

## Slide 20: CHESS-U at 5.3 GeV
1x9, 4ns, 22.2 mA/b
CHESS-U transition and CHESS-U results by summer REU student Keefer Rowan
1x9, 14ns, 22.2 mA/b
9x5 at 4.4 mA/b
Various bunch configurations, all 200 mA total
Includes contribution from combined function magnets (DQ) and compact undulators (CCU)
18x5 at 2.2 mA/b

## Slide 21: CHESS-U at 6 GeV
1x9, 4ns, 22.2 mA/b
1x9, 14ns, 22.2 mA/b
9x5 at 4.4 mA/b
Various bunch configurations, all 200 mA total
Includes contribution from combined function magnets (DQ) and compact undulators (CCU)
Tune shifts at 5.3 GeV very similar, about 5-10% lower
All tune shifts, except for 1x9 with 4ns spacing, are < 2.5 kHz and should not present a problem
  We had tune shifts up to 3.5 kHz in the 5.3 GeV measurements
  Tune plane of CHESS-U better than CHESS
18x5 at 2.2 mA/b

## Slide 22: 4) Tracking simulations
Use the time-sliced electric field maps in EC elements at the dipole and drifts
Track particles in bunch through the full lattice (using Bmad) for multiple damping times, with radiation excitation and damping
“weak-strong” model: does not take into account effects on the cloud due to changes in the beam
  Tracking: Weak: beam; Strong: EC
  EC buildup simulations: Weak: EC; Strong: beam
  Justification: EC buildup simulations are rather insensitive to vertical beam size
Strong-strong simulations are too computationally intensive to track for enough turns
  Damping times at CesrTA are ~20,000 turns
  We want equilibrium beam sizes

## Slide 23: Vertical bunch size growth - train
Bunch size from simulation is the average over last 20k turns (of 100k)
See vertical emittance growth in 0.7 mA/b simulations
0.7 mA/b positron train

## Slide 24: Vertical bunch size growth - witness bunch
More emittance growth with:
  shorter distances from train (more cloud)
  higher witness bunch current (more pinch)
Simulations show similar behavior

## Slide 25: Summary
We have obtained various measurements of tune shifts and emittance growth from electron cloud
Our e-cloud model has been improved with precise modeling of synchrotron radiation photons & generation of primary electrons
The model has been validated with improved tune shift measurements for a range of bunch currents at 2.1 and 5.3 GeV
The validated model was used to predict tune shifts in CHESS-U transition and CHESS-U
  All tune shifts (except for 1x9 with 4ns spacing) are < 2.5 kHz; should not present a problem
  Disclaimer: We have not ruled out other possible sources of instabilities from EC:
    Cloud shape, pinch effect, cloud trapping
    The simulations can be used to address problems as they arise
Our model can uncover the largest contributions to tune shifts and emittance growth
  EC mitigation methods can be targeted to these regions and tested in simulation
Future work:
  Use model to predict EC effects at future accelerators
  Use model to understand underlying factors driving emittance growth
    New approaches to mitigating emittance growth from EC

## Slide 26
Thank you

## Slide 27: Witness bunch to a 0.4 mA/b train (below threshold)
e+
e-