Electron Cloud Measurement Summary
for the April 2014 Run
May 2, 2014
John Sikora, Jim Crittenden, Joe Calvey
and Others

---
Electron Cloud Measurements: April 2014
Overview of 5.3 GeV Data
Instruments: * First-Time Measurements*
Quad Shielded Pickup in Q48W (QSPU)
Time-Resolved Retarding Field Analyzers in the L3 Chicane (TR-RFA)
TE Wave measurements in the L3 Chicane, 13E-15E and Q48E (TEW)
Shielded Pickups at 15E/15W (SPU)
Retarding Field Analyzers (34) – Cross-calibration measurements (SPU-15E/W, TEW-15E)
There are also some turn-turn CBPM measurements of witness bunches by KGS.
Beam Configurations:
Positrons: 10-bunch and 20-bunch trains, with and without a witness bunch
Data versus total current and chicane field (QSPU, TR-RFA, SPU (20 dB), TEW, RFA)
Data versus witness spacing and current (QSPU, TR-RFA, SPU, TEW)
Data versus bunch spacing: 4, 8, 12, 14, 16, 20, 24, 28 ns (QSPU, TR-RFA, SPU, TEW)
Electrons: 20-bunch train
Data versus total current and chicane field (SPU, TEW)
Data versus witness bunch spacing and current (SPU, TEW)
Positrons and electrons 2-bunch (SPU, long-term TiN and Al conditioning)
/10

---
Data Examples from April 2014
QSPU in Q48W
(biased at +50 V)
With a single positron bunch at 8 mA there is almost no signal (magenta trace)
20-bunch positrons with 16 ns spacing at 8mA/bunch with no witness bunch (blue trace).
Then add an 8 mA witness bunch about 1 μs after the train (green trace).
Witness signal is much larger than that of a single bunch, and
The 20-bunch signal decreases when the witness bunch is added (red trace).

---
QSPU in Q48W
20-bunch positron train at 8 mA/bunch with different bunch spacings.
The highest signal is produced by a train with 16 ns spaced bunches (red trace).
28-bunch positron train with 14-ns spacing versus bunch current

---
SPU at 15W (TiN) and 15E (Al)
SPU signals were recorded for a variety of bunch patterns and currents.
The above signals from 15E with 20-bunch positrons at four currents are to be used for cross-calibration the SPU, RFA and Microwave measurements.

---
SPU at 15W (TiN) and 15E (Al)
The total charge/turn entering the SPU can be obtained by integrating the signal.
The current dependence of this integrated charge at 15E and 15W for 20-bunch trains of electrons and positrons is shown above.
The larger symbols in the positron data are at the four current values for which the cross-calibration data was taken.

---
Microwave Measurements
Data was taken in three regions between 13E and 15E
At the same time, SPU 15E data was also taken.
RFA data was taken with positrons at the points with large symbols.
EC density from both positron and electron beams show (cloud) saturation, but the electron data has more “features”.

---
Microwave Measurements
Drive
OFF
Drive
ON
 A scan of the chicane magnetic dipole field shows that the sidebands have a sharp peak at the cyclotron resonance.
At the cyclotron resonance, the TR-RFA signal in the same chamber increases when the microwaves are turned ON.

---
Microwave Measurements
However, the sidebands that are measured using the independent vertical mode in the same chamber do NOT show a significant change in amplitude at the cyclotron resonance when the horizontal drive is turned ON/OFF.
This indicates that the EC density does not change with horizontal excitation.
We can conclude that the microwave drive influences the TR_RFA acceptance.

---
Summary and Comments
More than 60 hours were dedicated to 5.3 GeV data collection.
Transitions in energy, totaling 11 hours, generally went smoothly.
There was also an 8-hour shift of 5.3 GeV setup and a 6-hour RFA-only data shift.
We recorded many bytes of data from a variety of detectors with both positron and electron beams.
This data will be used both for comparison with simulations and with complementary detectors where that is possible.
Data-taking software for SPU, QSPU, and TR-RFA were running on Linux for this run for the first time. The TEWave software remains to be ported.