## Slide 1: E-field Pitch Review Charge
April 29, 2019

## Slide 2: Measurements
The Efield correction is based on measurement of the equilibrium radial distribution. There are two distinct methods (fourier and CERN) for measuring the distribution.
  Are the two methods consistent?
  We will test the efficacy of the analyses methods with simulation. But such tests will likely depend on shortcuts (approximations) as it is likely impractical to generate enough statistics. Have we appropriately prioritized the simulation effort?
  The measurement of the distribution depends almost exclusively on the first 100 us of the fill. Have we adequately addressed this bias?
  Have we addressed detector effects, including pile-up, gain bias ?
  Distortion of radial distribution due to early to late correlation in injected bunch (plan to investigate with simulations)
The pitch correction is based on the tracker measurement of the vertical distribution.
  Are the uncertainties ascribed to the measurement reasonable?
  Is the differential acceptance of tracker and calorimeter adequately addressed?
  Differential losses (plan to investigate in simulation)

## Slide 3: Simulation
The E-field correction requires knowledge of the average bXE along the trajectory, and the momentum. To first approximation both are linearly related to the displacement of the closed orbit. We evaluate the effect of field nonlinearity and distortions with simulation including
  quad misalignment, field errors, nonlinearity, fringe field
  radial B-field
  measured fields (broken resistor)
  betatron amplitude
  muon losses
The pitch correction depends on knowledge of the pitching angle, which is to first approximation linearly related to the vertical displacement. We evaluate the effect of nonlinearities, etc with simulation as above.

## Slide 4: What else?
Are the studies we describe sufficient to instill confidence in the claimed uncertainties? Is there some additional study that should be completed?
Are additional measurements required?
  (for example) Survey of top and bottom quad plates?