## Slide 1
James Mott, Boston University
g-2 Collaboration Meeting
30th May 2019
Pitch Correction: Tracker Measurements

## Slide 2: Why do we need a pitch correction?
Muons are going up-and-down in the ring (focused by quads):

## Slide 3: Why do we need a pitch correction?
Muons are going up-and-down in the ring (focused by quads):
Field felt by the muons is reduced:
Muon going up at this time, but angle oscillates
B
This is always positive for us

## Slide 4: Angles and Positions:
We really care about the vertical (pitch) angle of the µ+
But we measure e+ so angle information is washed out a bit
Instead, we measure position of decay and rely on the relation between amplitude & angle of oscillation:
Larger amplitude ⟷ Larger angle
Smaller amplitude ⟷ Smaller angle
Averaging over all muons, we get the average correction, CP:
We’ll actually use a beam dynamics model instead of this formula but it’s close

## Slide 5: 〈y2〉 is σ2
Gaussian: E[(y - µ)2] = σ2 & if µ = 0, then E[y2] = 〈y2〉 = σ2
ToyMC
y-distribution
ToyMC
y2-distribution
12.492 = 156
So we’re actually measuring the width of the distribution
If whole y distribution is offset, then we want 〈(y - µ)2〉 instead of y2 and it’s still the width

## Slide 6: Pitch Correction: Orientation
CP [ppb] ∼ 1.06 〈y2〉 [mm2] for n = 0.108
In BNL 2001:
Cp (low n) = 270 +/- 36 ppb
Cp (high n) = 320 +/- 36 ppb
For us (60h):
σy ∼ 12.5 mm, y2 ~ 150 mm2
Cp ∼ 160 ppb
E821 2000
60h
(Uncorrected)
Acceptance & Resolution Corrected
Uncorrected
σy = 15.3 mm
σy = 12.8 mm

## Slide 7: Pitch Correction: Perspective
Uncorrected
TDR target for E-field & pitch together is 30 ppb (!)
A rough estimate (and I stress these are uneducated guesses) of where are for stats & systematics in run 1:
For Run 1, we don’t have to worry too much for the pitch correction so bear this in mind for rest of talk
Going forward, we’ll obviously have to do better
 | Uncertainty (ppb) |  |  |  | 
ωa (stat) | 350 |  |  |  | 
ωa (syst) | 80 |  |  |  | 
Field | 100 |  |  |  | 
E-field | 60 |  |  |  | 
Pitch | 0 | 10 | 30 | 50 | 150
Total Uncertainty | 377 | 378 | 379 | 381 | 406

## Slide 8: Muon Decay Position
What tracker measures for decay position in the 60h dataset:
Trackers at
180° & 270°
Decay Vertices
Radial & Vertical Position
Projection of beam onto radial slice
Top-down view of decay vertices

## Slide 9: Beam Position: Radial & Vertical Projections
Projections of 2D beam spot from previous slide onto radial and vertical directions:
Decay Position - Radial
Decay Position - Vertical

## Slide 10: Non-continuous Quads:
We vertically focus the beam in the quad regions:
Trackers are measuring beam in between quads, so we measure slightly lower width than overall beam
5% difference in width between centre of quads and gaps
Q1
Q2
Q3
Q4
Muons
Tracker measurement region

## Slide 11: Closed Orbit Distortions
Small misplacements of the quads and radial field lead to change of vertical position around the ring:
How does width change due to these effects?
Radial field changed a lot over run – is this representative?
Plot stolen from Mike Syphers

## Slide 12: A Recipe for Pitch Correction:
Ingredients:
Tracker data
Beam dynamics (BD) model
Calorimeter acceptance
Steps:
Correct tracker measurements for acceptance & resolution:
Station 12
Station 18

## Slide 13: A Recipe for Pitch Correction:
Ingredients:
Tracker data
Beam dynamics (BD) model
Calorimeter acceptance
Steps:
Correct tracker measurements for acceptance & resolution.
Tune BD model to match tracker data at two measurement points
Propagate µ+ in model and get CP for each decay
Stolen from David R.

## Slide 14: A Recipe for Pitch Correction:
Ingredients:
Tracker data
Beam dynamics (BD) model
Calorimeter acceptance
Steps:
Correct tracker measurements for acceptance & resolution.
Tune BD model to match tracker data at two measurement points
Propagate µ+ in model and get CP for each decay
Calculate CP weighted by calo acceptance at each decay point
Stolen from Josh

## Slide 15: Vertical Distribution: Changes vs Time
After alignment
Difference could be from closed-orbit distortions or systematic shift
We have 2 effects that could change our vertical distribution
  Changing radial magnetic field means the beam drifts up-and-down over the time scale of hours:
We fit each run separately and combine widths
DocDB 14071
DocDB 15631

## Slide 16: Vertical Distribution: Changes vs Time
We have 2 effects that could change our vertical distribution
  Bad quad resistors mean the beam moves down and changes width over the course of each fill:
Seems to be negligible for width measurement but I raise it here lest we forget
Mean Vertical Position
Vertical Width

## Slide 17: Vertical Distribution: Typical Run
First full run of the 60h dataset (15922):
Per run, have 105 tracks per station after quality cuts
Statistical uncertainty on CP ~1 ppb per run
S12
Run 15922

## Slide 18: 〈y2〉 over 60h dataset:
Width is stable until run 15970, which is is thought to be related to the quads:
Change after then is only a few ppb different
Difference between stations combination of resolution & orbit distortions
Sean Foster (BU)
Remember
1 mm2 ~ 1 ppb
DocDB 17224
DocDB 15631
Station 12
Station 18

## Slide 19: Tracking Systematics: Intro
Tracking systematics have been computed by whole team:
  Alignment (Gleb, Joe, James)
  Tracking algorithm (Alessandra, Dan, Gavin, James)
  Cross-talk (Dan)
  Lost muons (Sam)
We change parameters and see how µr , σr , µy , & σy change
Generally, vertical width is not sensitive to most systematics
Details and links to studies in tracking analysis e-log 164
Still missing fringe field estimate

## Slide 20: Alignment: External Alignment
Use Horst’s alignment measurements
Fit for ‘global alignment’
Generate correlated shifts
See doc-db 16063
〈y〉 changes by +/- 0.6 mm, and 〈y2〉 +/- 0.01 mm2
Corresponds to a ΔCp = 0.3 ppb
Joe Price (Liverpool)

## Slide 21: Alignment: Internal Alignment
Generate randomly mis-aligned modules +/- 100μm
Reconstruct data and calculate 〈y2〉
Details in doc-db 16685
Δσy = 0.06 mm, giving ΔCp = 1.5 ppb
Internal alignment is the movement of the individual modules in a station
Gleb Lukicov (UCL)

## Slide 22: Alignment: Detector Curvature
Gleb Lukicov (UCL)
If modules are in a circle rather than straight, we just fit a good quality track with the wrong momentum
This biases track extrapolation:
Δσy = 0.1 mm, giving ΔCp = 2.7 ppb
DocDB 17848

## Slide 23: Alignment: Straw Angle Alignment
7.5°
Design
7.65°
Misaligned
100 µm
Wire
Wire position at end of straw known to ~100 µm
Conspiracy theory: all are misaligned in same way due to some machining error
Uncertainty on vertical width of 0.25 mm → ΔCP = ± 6.9 ppb
E-log 175

## Slide 24: Tracking Algo: T-to-R
Have function for going between drift-time and track impact parameter
Changed slope of this curve to that of steepest & shallowest layers:
Δσy = 0.1 mm, giving ΔCp = 2.7 ppb
Test Cases
Default Parameterisation
(One line per layer)
DCA [mm]
DCA [mm]
Drift Time [ns]
Drift Time [ns]
Gavin Hesketh (UCL)
DocDB 17746

## Slide 25: Tracking Algo: t0 Offset
t0 offset is fixed time difference between estimate of t0 and the mean of hits in the track
Getting it wrong increases/decreases the drift circles of the straw hits
Alessandra Lucà (FNAL)
Take ± 2 ns as uncertainty
No clear shift in width of y distribution, but we take uncertainty as 25 µm [0.6 ppb]
DocDB 16787

## Slide 26: Tracking Algo: Material Density
Alessandra Lucà (FNAL)
Amount of material in tracker is used to calculate energy loss
Getting it wrong means we get our track curvature wrong
Tested reconstruction with 0, 0.5, 1, 2x nominal density.
No clear shift in width of y distribution, but we take uncertainty as 11 µm [0.3 ppb]
DocDB 16787

## Slide 27: Tracking Algorithm: Track-Finding
E-log 174
Have to choose which straw hits are on the track
Majority of tracks don’t have another track present so effect is small.
Tammy’s working on a more concrete estimate of this and we’ll revisit with refinement
Ran with MC with 1 muon per fill and then 4000 muons per fill (~ Run 1)
Leads to shift in σy of 10 µm [0.3 ppb]

## Slide 28: Tracking Algo: Meas. Resolution
Tuned our reconstruction measurement resolution to data, but we could get it wrong still.
Try smearing positions in data by extra amount
Don’t expect to be wrong by more than 10%: Δσy : 10 µm [0.3 ppb]
Dan Boyden (NIU)
E-log 159

## Slide 29: Cross Talk:
Cross talk adds in hits in the wrong straws at similar times
From data: ~7% of hits generate a cross-talk hit.
Added cross-talk to simulation and studied effect:
No difference seen in extrapolated vertical width after quality cuts.
Dan Boyden (NIU)
E-log 159
% of tracks removed by track-finding
% of tracks with cross-talk hits

## Slide 30: Lost Muons
Lost muons look like high momentum e+ in the tracker
Many removed by quality cuts, but some survive.
Estimate how many make it through by using calorimeter to tag e+/µ+:
Sam Grant (UCL)
E-log 159
[2.9 ppb]
± 60 mm Range

## Slide 31: Uncertainties from Tracking:
Find that all tracking uncertainties together give ~ 9 ppb
Need to make sure last outstanding systematic is not significant
Should be able to check straw stereo angle alignment with tracks
Systematic | “Volunteer” | σy systematic [mm] | Cp systematic [ppb]
Alignment (Internal) | Gleb | 0.06 | 1.5
Alignment (External) | Joe | 0.01 | 0.3
Alignment (Curvature) | Gleb | 0.1 | 2.7
Straw Stereo Angle | James | 0.25 | 6.9
t0 | Alessandra | 0.03 | 0.6
Track Finding | James | 0.01 | 0.3
Hit resolution | Dan | 0.01 | 0.3
R to T | Gavin | 0.1 | 2.7
Material Effects | Alessandra | 0.01 | 0.3
Magnetic fringe field | ? | ? | ?
Cross-talk | Dan | < 0.005 | < 0.1
Lost muon contamination | Sam | 0.11 | 2.9
Total |  | 0.32 + ? | 8.6 + ?

## Slide 32: Tracking Resolution
Measurement will include resolution & we over-estimate width
Drop tracker layer from fit and then compare prediction to measurement:
Data matches straw hit resolution of ~95 µm
Tracking Res.
Hit Resolution
Hit + t0
Hit + t0 + tracking
Data RMS

## Slide 33: Beam Spot Resolution
Using this resolution in MC, we can follow through tracking and extrapolation to estimate the vertex resolution:
Two different resolutions present so needed two Gaussians.
Combination for vertical resolution is 2.7 mm
Vertical
Radial

## Slide 34: Vertex Resolution Removal: Data
Station 12
Station 18
Remember
1 mm2 ~ 1 ppb
Using fit over whole range of 60h:
Relatively small change from resolution (~8 ppb)
Stat. errors only

## Slide 35: Vertex Extraction Resolution: Systematic
How wrong could our resolution estimate be?
Conservatively, I think we know our hit resolution to ~ 30 µm
Vertical resolution known to 0.5 mm → ΔCP = ± 3 ppb

## Slide 36: Tracker to beam: acceptance
How does what trackers measure compare to true beam?
See more tracks at lower radius (closer to tracker)
See fewer tracks that decay near top and bottom of ring – means we underestimate vertical width
Radial
Vertical
Tracks/Truth
Tracks/Truth
MDC1
MDC1

## Slide 37: How much do we underestimate width?
Take the tracker measurement and weight it by the acceptance curve (2nd order polynomial fit)
〈y2〉 increases from 161 to 184 mm2 [14%]
Including resolution increase is reduced by ~ 3 mm2
Will correct for acceptance & resolution together
Remember
1 mm2 ~ 1 ppb

## Slide 38: Calo Acceptance: Reminder
Final acceptance effect on calos will be smaller as high/low decays less likely to get into wiggle plot:
Pitch correction still exists even if you decay at y = 0, so we need a model to calculate this properly.
Vertical acceptance by calo

## Slide 39: Uncertainties Summary:
Uncertainty excluding acceptance is ~10 ppb
Acceptance correction itself will be less than 20 ppb with small error
Simulation/Model uncertainty is also 10 ppb
Total correction expected to be ~160 ± 15 ppb.
Systematic | Cp systematic [ppb]
Tracking | 8.6 + ?
Vertex Resolution | 3
Total | 9.1 + ?

## Slide 40: Extra Slides

## Slide 41: Tracker Design Overview
Two trackers: each with 8 modules that sit in front of calorimeter
Decay e+
Muon’s-eye view inside vacuum chamber
Each module has 128 straws in four layers
Top down view of ring section
Storage Region
Vacuum Chamber
Calorimeters
Tracker
(Total tracker has 32 straws x 32 layers)

## Slide 42: Track Extrapolation: Decay Point & Calorimeters
We extrapolate tracks backwards to decay point and forwards to calorimeter:
Tracker Modules
Muon Storage Region
Calorimeter
Forwards Extrap
Backwards Extrap.
Stop extrapolation when momentum is tangential
Straw Hits

## Slide 43: Tracking & Extrapolation Quality Cuts:
Apply these quality cuts to improve tracking distributions:
Non-failed track/vertex
No volumes hit
Number of Straw Hits >= 12
pValue > 5%
0.5 < σy < 3.5 mm and 0.5 < σr < 5 mm
Entrance: 60 < x < 150 mm && -40 < y < 40 mm
0 < Drift Times < 70 ns
Track Residuals < 500 um
Fraction of Missed Layers < 30%
|U - V Hits| <= 4
Extrap Distance > 40 cm
Extrap Distance > -150 cm + |p| * 0.1 cm/MeV
With track refinement we can likely recover a lot of the tracks lost here
Removes 50% of previously accepted tracks
Removes 5%
DocDB 16282
DocDB 16420
DocDB 16444
(9 hits, no volumes & p-value > 0.005)

## Slide 44: Tracking & Extrapolation Quality Cuts:
No Volumes && p-value > 0.5%
With Quality Cuts
Radial
Vertical
Cuts are very effective at removing tails (which skew y2):
DocDB 16282
DocDB 16420
DocDB 16444

## Slide 45: Tracking & Extrapolation Quality Cuts:
Cuts are very effective at removing tails (which skew y2):
No Volumes && p-value > 0.5%
With Quality Cuts
Radial
Vertical
DocDB 16282
DocDB 16420
DocDB 16444

## Slide 46: Tracking & Extrapolation Quality Cuts:
Quality cuts don’t introduce large bias in acceptance:
The true radial and vertical decay positions are equally distributed for quality and non-quality tracks
Normalised Entries
Radial Position
Vertical Position

## Slide 47: What’s shape of the distribution?
We don’t know of a simple functional form for an offset beam in a circular aperture
Single Gaussian doesn’t fit very well:
Sean Foster (BU)
DocDB 17224
Data
Run 15922
Don’t mention fit at all – just go to data only!

## Slide 48: What’s shape of the distribution?
Found two different functions that work a bit better:
Neither is a very good fit due to large χ2 in the tails, but they both extract the data 〈y2〉 well
Convolution seems better motivated, but parameters aren’t physically meaningful
Sean Foster (BU)
Sum of two Gaussians
Ellipse and Gaussian Convolution
DocDB 17224

## Slide 49: What’s shape of the distribution?
Both fits and data-only give very similar 〈y2〉 results:
Change after 15970 is thought to be related to the quads.
Only a few ppb different from main body of data
Sean Foster (BU)
Remember
1 mm2 ~ 1 ppb
DocDB 17224
DocDB 15631
Station 12

## Slide 50: Tracking Algo: L/R Ambiguity
Alessandra Lucà (FNAL)
DocDB 16787
We don’t know if track went on left or right of wire
Tested using MC – effect of getting wrong L/R estimated as 2.3 mm increase in resolution for each track:
Should be included in our MC resolution estimate, but we very conservatively assume its totally missed
Leads to shift in σy of 240 µm [6.9 ppb]
Right Guesses
Wrong Guesses

## Slide 51: Pitch Systematics: Moving Beam Mean
We know beam was moving down over course of fill
Estimated effect with ToyMC (with realistic estimate of movement & lifetime):
Width unchanged: assume effect on y2 is negligible
Tracking e-log 153

## Slide 52: Pitch Systematics: Moving Beam
Width was changing too! Do similar estimate:
Width changes by less than 0.5% [0.8 ppb].
Not sure if we should be taking the changing value anyway so no correction applied
Tracking e-log 154

## Slide 53: Vertex Resolution Removal: MC Example
Closed-loop test of resolution removal using MDC1 MC:
Truth: σ = 14.2 mm 〈y2〉 = 201.6 mm2
Reco: σ = 14.5 mm 〈y2〉meas = 210.2 mm2
Resolution: σ = 2.7 mm → 〈y2〉calc = 203.0 mm2
Tracks that I reconstructed (ignoring acceptance here)
True
Reco
Works to ~0.6%

## Slide 54: Future Plans:
Here’s what’s on our current y2 to-do list:
  Finish fringe field
  y2 vs angle measurement (acceptance is worse for angle)
  A few cut scans (momentum, p-value, time)
  Closed-loop test with gm2ringsim
  All other datasets (not just 60h)
  Calo acceptance for all calorimeters
  Double-check recon east/west acceptance
    Elephants in the room that we’ve not spoken about:
      How do we measure n?
      Radial magnetic field