Conversion of reciprocal space maps

DS 11/2/05

- data gets collected as PSD spectra as a function of in-plane scattering angle 

- data gets converted to matrix using program spec2orgRR (oscillation scans get normalized using spec2mon (in the works))

- PSD gets calibrated to yield   angle using reflectivity from wafer

-  angle gets determined from

-   get transformed to q-space:

- Intensities need to be corrected by Lorentz factor, horizontal Polarization factor, and Rod factor (using a wide beam iiluminating all of the sample area, and wide aperture Soller slits eliminates the need for an area correction):

- The new map is now: . If all transformations went well, scattering rods should look straight (LB film reference sample).