## GID instrumentation notes

# Pseudo z-axis geometry

In this geometry, rather than tilting the whole goniometer (or bend the beam down), only the sample is tilted:

c = 90o

n

c







The question is now, what is the exit angle  as a function of the detector arm angle ?

We introduce the rotational matrices for rotations about the x-axis and the z-axis:

The surface normal can now be written as:

n=Rx(α)001=0−sin(α)cos(α)

The scattered wave vector is given by the detector position ():

kf=Rz(δ)Rx(γ)ki

with ki=k010   and   k=2πλ.

Evaluation yields

The exit angle can now be obtained using the scalar product :

yielding the final formula

sin(β)=cos(α)sin(γ)−sin(α)cos(γ)cos(δ)

Special cases:

- =0: 	sin() = cos() sin() - sin() cos() = sin(-) 	i.e.  = -

- =90o: 	sin() = cos() sin() 					i.e.  = for small 

- small ,,, arbitrary : 					 = - cos()

Formula c) will apply for most cases to the G2 setup with the horizontal diffractometer, where  is typically smaller than 10o.

A small correction also applies to the in-plane scattering angle  as compared to the diffractometer angle . In order to calculate , we need to find the projections of the wavevectors ks onto the surface plane. This is easy for the incident beam:

For the exit beam, we have to calculate the projection of kf onto the surface plane using the Gram-Schmidt orthogonalization scheme:

Now  can be determined from the scalar product of the in-plane projections:

I cheated for the last two steps and did the somewhat lengthy calculation with MathCAD’s symbolic math feature. The exact result is

Now we want to analyze special cases again, to check the formula:

- =0: cos( cos(i.e., as it should be.

- small: same as a)

We confirmed that the -correction is minute for the typical values of  below 1º. In this case the  correction is not needed.