{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":375,"n_cols":13,"rows_kept":375,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["this is the machining oversize"]
[0.03]
["x","y","y","x expect","y expect","z expect","meas val"]
[0.984,1.2,-0.07,{"$nulls":4},1,0,0,"line 01A"," measure X"," decreasing X"]
[0.984,2.2,-0.07,{"$nulls":4},1,0,0]
[0.984,3.2,-0.07,{"$nulls":4},1,0,0]
[0.984,4.3,-0.07,{"$nulls":4},1,0,0]
[0.984,5.3,-0.07,{"$nulls":4},1,0,0]
[0.984,6.3,-0.07,{"$nulls":4},1,0,0]
[0.984,7.3,-0.07,{"$nulls":4},1,0,0]
[0.984,8.3,-0.07,{"$nulls":4},1,0,0]
[0.984,9.3,-0.07,{"$nulls":4},1,0,0]
[0.984,10.3,-0.07,{"$nulls":4},1,0,0]
[0.984,11.3,-0.07,{"$nulls":4},1,0,0]
[0.984,12.5,-0.07,{"$nulls":4},1,0,0]
[0.984,13.5,-0.07,{"$nulls":4},1,0,0]
[0.984,14.5,-0.07,{"$nulls":4},1,0,0]
[1.114,1.2,-0.157,{"$nulls":4},0,0,1,"line 01B"," measure Z"," decreasing Z"]
[1.114,2.2,-0.157,{"$nulls":4},0,0,1]
[1.114,3.2,-0.157,{"$nulls":4},0,0,1]
[1.114,4.3,-0.157,{"$nulls":4},0,0,1]
[1.114,5.3,-0.157,{"$nulls":4},0,0,1]
[1.114,6.3,-0.157,{"$nulls":4},0,0,1]
[1.114,7.3,-0.157,{"$nulls":4},0,0,1]
[1.114,8.3,-0.157,{"$nulls":4},0,0,1]
[1.114,9.3,-0.157,{"$nulls":4},0,0,1]
[1.114,10.3,-0.157,{"$nulls":4},0,0,1]
[1.114,11.3,-0.157,{"$nulls":4},0,0,1]
[1.114,12.5,-0.157,{"$nulls":4},0,0,1]
[1.114,13.5,-0.157,{"$nulls":4},0,0,1]
[1.114,14.5,-0.157,{"$nulls":4},0,0,1]
[3.425,4.3,-0.07,{"$nulls":4},-1,0,0,"line 02A"," measure X"," increasing X"]
[3.425,5.3,-0.07,{"$nulls":4},-1,0,0]
[3.425,6.3,-0.07,{"$nulls":4},-1,0,0]
[3.425,7.3,-0.07,{"$nulls":4},-1,0,0]
[3.425,8.3,-0.07,{"$nulls":4},-1,0,0]
[3.425,9.3,-0.07,{"$nulls":4},-1,0,0]
[3.425,10.3,-0.07,{"$nulls":4},-1,0,0]
[3.425,11.3,-0.07,{"$nulls":4},-1,0,0]
[3.295,4.3,-0.157,{"$nulls":4},0,0,1,"line 02B"," measure Z"," decreasing Z"]
[3.295,5.3,-0.157,{"$nulls":4},0,0,1]
[3.295,6.3,-0.157,{"$nulls":4},0,0,1]
[3.295,7.3,-0.157,{"$nulls":4},0,0,1]
[3.295,8.3,-0.157,{"$nulls":4},0,0,1]
[3.295,9.3,-0.157,{"$nulls":4},0,0,1]
[3.295,10.3,-0.157,{"$nulls":4},0,0,1]
[3.295,11.3,-0.157,{"$nulls":4},0,0,1]
[3.681,4.3,-0.07,{"$nulls":4},1,0,0,"line 03A"," measure X"," decreasing X"]
[3.681,5.3,-0.07,{"$nulls":4},1,0,0]
[3.681,6.3,-0.07,{"$nulls":4},1,0,0]
[3.681,7.3,-0.07,{"$nulls":4},1,0,0]
[3.681,8.3,-0.07,{"$nulls":4},1,0,0]
[3.681,9.3,-0.07,{"$nulls":4},1,0,0]
[3.681,10.3,-0.07,{"$nulls":4},1,0,0]
[3.681,11.3,-0.07,{"$nulls":4},1,0,0]
[3.811,4.3,-0.157,{"$nulls":4},0,0,1,"line 03B"," measure Z"," decreasing Z"]
[3.811,5.3,-0.157,{"$nulls":4},0,0,1]
[3.811,6.3,-0.157,{"$nulls":4},0,0,1]
[3.811,7.3,-0.157,{"$nulls":4},0,0,1]
[3.811,8.3,-0.157,{"$nulls":4},0,0,1]
[3.811,9.3,-0.157,{"$nulls":4},0,0,1]
[3.811,10.3,-0.157,{"$nulls":4},0,0,1]
[3.811,11.3,-0.157,{"$nulls":4},0,0,1]
[8.15,12.5,-0.07,{"$nulls":4},-1,0,0,"line 04A"," measure X"," increasing X"]
[8.15,13.5,-0.07,{"$nulls":4},-1,0,0]
[8.15,14.5,-0.07,{"$nulls":4},-1,0,0]
[8.02,12.5,-0.157,{"$nulls":4},0,0,1,"line 04B"," measure Z"," decreasing Z"]
[8.02,13.5,-0.157,{"$nulls":4},0,0,1]
[8.02,14.5,-0.157,{"$nulls":4},0,0,1]
[8.406,12.5,-0.07,{"$nulls":4},1,0,0,"line 05A"," measure X"," decreasing X"]
[8.406,13.5,-0.07,{"$nulls":4},1,0,0]
[8.406,14.5,-0.07,{"$nulls":4},1,0,0]
[8.536,12.5,-0.157,{"$nulls":4},0,0,1,"line 05B"," measure Z"," decreasing Z"]
[8.536,13.5,-0.157,{"$nulls":4},0,0,1]
[8.536,14.5,-0.157,{"$nulls":4},0,0,1]
[15.965,1.2,-0.07,{"$nulls":4},-1,0,0,"line 06A"," measure X"," increasing X"]
[15.965,2.2,-0.07,{"$nulls":4},-1,0,0]
[15.965,3.2,-0.07,{"$nulls":4},-1,0,0]
[15.965,4.3,-0.07,{"$nulls":4},-1,0,0]
[15.965,5.3,-0.07,{"$nulls":4},-1,0,0]
[15.965,6.3,-0.07,{"$nulls":4},-1,0,0]
[15.965,7.3,-0.07,{"$nulls":4},-1,0,0]
[15.965,8.3,-0.07,{"$nulls":4},-1,0,0]
[15.965,9.3,-0.07,{"$nulls":4},-1,0,0]
[15.965,10.3,-0.07,{"$nulls":4},-1,0,0]
[15.965,11.3,-0.07,{"$nulls":4},-1,0,0]
[15.835,1.2,-0.157,{"$nulls":4},0,0,1,"line 06B"," measure Z"," decreasing Z"]
[15.835,2.2,-0.157,{"$nulls":4},0,0,1]
[15.835,3.2,-0.157,{"$nulls":4},0,0,1]
[15.835,4.3,-0.157,{"$nulls":4},0,0,1]
[15.835,5.3,-0.157,{"$nulls":4},0,0,1]
[15.835,6.3,-0.157,{"$nulls":4},0,0,1]
[15.835,7.3,-0.157,{"$nulls":4},0,0,1]
[15.835,8.3,-0.157,{"$nulls":4},0,0,1]
[15.835,9.3,-0.157,{"$nulls":4},0,0,1]
[15.835,10.3,-0.157,{"$nulls":4},0,0,1]
[15.835,11.3,-0.157,{"$nulls":4},0,0,1]
[16.22,1.2,-0.07,{"$nulls":4},1,0,0,"line 07A"," measure X"," decreasing X"]
[16.22,2.2,-0.07,{"$nulls":4},1,0,0]
[16.22,3.2,-0.07,{"$nulls":4},1,0,0]
[16.22,4.3,-0.07,{"$nulls":4},1,0,0]
[16.22,5.3,-0.07,{"$nulls":4},1,0,0]
[16.22,6.3,-0.07,{"$nulls":4},1,0,0]
[16.22,7.3,-0.07,{"$nulls":4},1,0,0]
[16.22,8.3,-0.07,{"$nulls":4},1,0,0]
[16.22,9.3,-0.07,{"$nulls":4},1,0,0]
[16.22,10.3,-0.07,{"$nulls":4},1,0,0]
[16.22,11.3,-0.07,{"$nulls":4},1,0,0]
[16.35,1.2,-0.157,{"$nulls":4},0,0,1,"line 07B"," measure Z"," decreasing Z"]
[16.35,2.2,-0.157,{"$nulls":4},0,0,1]
[16.35,3.2,-0.157,{"$nulls":4},0,0,1]
[16.35,4.3,-0.157,{"$nulls":4},0,0,1]
[16.35,5.3,-0.157,{"$nulls":4},0,0,1]
[16.35,6.3,-0.157,{"$nulls":4},0,0,1]
[16.35,7.3,-0.157,{"$nulls":4},0,0,1]
[16.35,8.3,-0.157,{"$nulls":4},0,0,1]
[16.35,9.3,-0.157,{"$nulls":4},0,0,1]
[16.35,10.3,-0.157,{"$nulls":4},0,0,1]
[16.35,11.3,-0.157,{"$nulls":4},0,0,1]
[20.63,1.2,-0.07,{"$nulls":4},-1,0,0,"line 08A"," measure X"," increasing X"]
[20.63,2.2,-0.07,{"$nulls":4},-1,0,0]
[20.63,3.2,-0.07,{"$nulls":4},-1,0,0]
[20.63,4.3,-0.07,{"$nulls":4},-1,0,0]
[20.63,5.3,-0.07,{"$nulls":4},-1,0,0]
[20.63,6.3,-0.07,{"$nulls":4},-1,0,0]
[20.63,7.3,-0.07,{"$nulls":4},-1,0,0]
[20.63,8.3,-0.07,{"$nulls":4},-1,0,0]
[20.63,9.3,-0.07,{"$nulls":4},-1,0,0]
[20.63,10.3,-0.07,{"$nulls":4},-1,0,0]
[20.63,11.3,-0.07,{"$nulls":4},-1,0,0]
[20.63,12.5,-0.07,{"$nulls":4},-1,0,0]
[20.63,13.5,-0.07,{"$nulls":4},-1,0,0]
[20.63,14.5,-0.07,{"$nulls":4},-1,0,0]
[20.5,1.2,-0.157,{"$nulls":4},0,0,1,"line 08B"," measure Z"," decreasing Z"]
[20.5,2.2,-0.157,{"$nulls":4},0,0,1]
[20.5,3.2,-0.157,{"$nulls":4},0,0,1]
[20.5,4.3,-0.157,{"$nulls":4},0,0,1]
[20.5,5.3,-0.157,{"$nulls":4},0,0,1]
[20.5,6.3,-0.157,{"$nulls":4},0,0,1]
[20.5,7.3,-0.157,{"$nulls":4},0,0,1]
[20.5,8.3,-0.157,{"$nulls":4},0,0,1]
[20.5,9.3,-0.157,{"$nulls":4},0,0,1]
[20.5,10.3,-0.157,{"$nulls":4},0,0,1]
[20.5,11.3,-0.157,{"$nulls":4},0,0,1]
[20.5,12.5,-0.157,{"$nulls":4},0,0,1]
[20.5,13.5,-0.157,{"$nulls":4},0,0,1]
[20.5,14.5,-0.157,{"$nulls":4},0,0,1]
[1.2,0.984,-0.07,{"$nulls":4},0,1,0,"line 09A"," measure Y"," decreasing Y"]
[2.2,0.984,-0.07,{"$nulls":4},0,1,0]
[3.2,0.984,-0.07,{"$nulls":4},0,1,0]
[4.4,0.984,-0.07,{"$nulls":4},0,1,0]
[5.4,0.984,-0.07,{"$nulls":4},0,1,0]
[6.4,0.984,-0.07,{"$nulls":4},0,1,0]
[7.4,0.984,-0.07,{"$nulls":4},0,1,0]
[8.7,0.984,-0.07,{"$nulls":4},0,1,0]
[9.7,0.984,-0.07,{"$nulls":4},0,1,0]
[10.7,0.984,-0.07,{"$nulls":4},0,1,0]
[11.7,0.984,-0.07,{"$nulls":4},0,1,0]
[12.7,0.984,-0.07,{"$nulls":4},0,1,0]
[13.7,0.984,-0.07,{"$nulls":4},0,1,0]
[14.7,0.984,-0.07,{"$nulls":4},0,1,0]
[15.7,0.984,-0.07,{"$nulls":4},0,1,0]
[16.8,0.984,-0.07,{"$nulls":4},0,1,0]
[17.8,0.984,-0.07,{"$nulls":4},0,1,0]
[18.8,0.984,-0.07,{"$nulls":4},0,1,0]
[19.8,0.984,-0.07,{"$nulls":4},0,1,0]
[1.2,1.114,-0.157,{"$nulls":4},0,0,1,"line 09B"," measure Z"," decreasing Z"]
[2.2,1.114,-0.157,{"$nulls":4},0,0,1]
[3.2,1.114,-0.157,{"$nulls":4},0,0,1]
[4.4,1.114,-0.157,{"$nulls":4},0,0,1]
[5.4,1.114,-0.157,{"$nulls":4},0,0,1]
[6.4,1.114,-0.157,{"$nulls":4},0,0,1]
[7.4,1.114,-0.157,{"$nulls":4},0,0,1]
[8.7,1.114,-0.157,{"$nulls":4},0,0,1]
[9.7,1.114,-0.157,{"$nulls":4},0,0,1]
[10.7,1.114,-0.157,{"$nulls":4},0,0,1]
[11.7,1.114,-0.157,{"$nulls":4},0,0,1]
[12.7,1.114,-0.157,{"$nulls":4},0,0,1]
[13.7,1.114,-0.157,{"$nulls":4},0,0,1]
[14.7,1.114,-0.157,{"$nulls":4},0,0,1]
[15.7,1.114,-0.157,{"$nulls":4},0,0,1]
[16.8,1.114,-0.157,{"$nulls":4},0,0,1]
[17.8,1.114,-0.157,{"$nulls":4},0,0,1]
[18.8,1.114,-0.157,{"$nulls":4},0,0,1]
[19.8,1.114,-0.157,{"$nulls":4},0,0,1]
[1.2,3.425,-0.07,{"$nulls":4},0,-1,0,"line 010A"," measure Y"," increasing Y"]
[2.2,3.425,-0.07,{"$nulls":4},0,-1,0]
[3.2,3.425,-0.07,{"$nulls":4},0,-1,0]
[4.4,3.425,-0.07,{"$nulls":4},0,-1,0]
[5.4,3.425,-0.07,{"$nulls":4},0,-1,0]
[6.4,3.425,-0.07,{"$nulls":4},0,-1,0]
[7.4,3.425,-0.07,{"$nulls":4},0,-1,0]
[8.7,3.425,-0.07,{"$nulls":4},0,-1,0]
[9.7,3.425,-0.07,{"$nulls":4},0,-1,0]
[10.7,3.425,-0.07,{"$nulls":4},0,-1,0]
[11.7,3.425,-0.07,{"$nulls":4},0,-1,0]
[12.7,3.425,-0.07,{"$nulls":4},0,-1,0]
[13.7,3.425,-0.07,{"$nulls":4},0,-1,0]
[14.7,3.425,-0.07,{"$nulls":4},0,-1,0]
[15.7,3.425,-0.07,{"$nulls":4},0,-1,0]
[16.8,3.425,-0.07,{"$nulls":4},0,-1,0]
[17.8,3.425,-0.07,{"$nulls":4},0,-1,0]
[18.8,3.425,-0.07,{"$nulls":4},0,-1,0]
[19.8,3.425,-0.07,{"$nulls":4},0,-1,0]
[1.2,3.295,-0.157,{"$nulls":4},0,0,1,"line 10B"," measure Z"," decreasing Z"]
[2.2,3.295,-0.157,{"$nulls":4},0,0,1]
[3.2,3.295,-0.157,{"$nulls":4},0,0,1]
[4.4,3.295,-0.157,{"$nulls":4},0,0,1]
[5.4,3.295,-0.157,{"$nulls":4},0,0,1]
[6.4,3.295,-0.157,{"$nulls":4},0,0,1]
[7.4,3.295,-0.157,{"$nulls":4},0,0,1]
[8.7,3.295,-0.157,{"$nulls":4},0,0,1]
[9.7,3.295,-0.157,{"$nulls":4},0,0,1]
[10.7,3.295,-0.157,{"$nulls":4},0,0,1]
[11.7,3.295,-0.157,{"$nulls":4},0,0,1]
[12.7,3.295,-0.157,{"$nulls":4},0,0,1]
[13.7,3.295,-0.157,{"$nulls":4},0,0,1]
[14.7,3.295,-0.157,{"$nulls":4},0,0,1]
[15.7,3.295,-0.157,{"$nulls":4},0,0,1]
[16.8,3.295,-0.157,{"$nulls":4},0,0,1]
[17.8,3.295,-0.157,{"$nulls":4},0,0,1]
[18.8,3.295,-0.157,{"$nulls":4},0,0,1]
[19.8,3.295,-0.157,{"$nulls":4},0,0,1]
[1.2,3.681,-0.07,{"$nulls":4},0,1,0,"line 11A"," measure Y"," decreasing Y"]
[2.2,3.681,-0.07,{"$nulls":4},0,1,0]
[3.2,3.681,-0.07,{"$nulls":4},0,1,0]
[4.4,3.681,-0.07,{"$nulls":4},0,1,0]
[5.4,3.681,-0.07,{"$nulls":4},0,1,0]
[6.4,3.681,-0.07,{"$nulls":4},0,1,0]
[7.4,3.681,-0.07,{"$nulls":4},0,1,0]
[8.7,3.681,-0.07,{"$nulls":4},0,1,0]
[9.7,3.681,-0.07,{"$nulls":4},0,1,0]
[10.7,3.681,-0.07,{"$nulls":4},0,1,0]
[11.7,3.681,-0.07,{"$nulls":4},0,1,0]
[12.7,3.681,-0.07,{"$nulls":4},0,1,0]
[13.7,3.681,-0.07,{"$nulls":4},0,1,0]
[14.7,3.681,-0.07,{"$nulls":4},0,1,0]
[15.7,3.681,-0.07,{"$nulls":4},0,1,0]
[16.8,3.681,-0.07,{"$nulls":4},0,1,0]
[17.8,3.681,-0.07,{"$nulls":4},0,1,0]
[18.8,3.681,-0.07,{"$nulls":4},0,1,0]
[19.8,3.681,-0.07,{"$nulls":4},0,1,0]
[1.2,3.811,-0.157,{"$nulls":4},0,0,1,"line 11B"," measure Z"," decreasing Z"]
[2.2,3.811,-0.157,{"$nulls":4},0,0,1]
[3.2,3.811,-0.157,{"$nulls":4},0,0,1]
[4.4,3.811,-0.157,{"$nulls":4},0,0,1]
[5.4,3.811,-0.157,{"$nulls":4},0,0,1]
[6.4,3.811,-0.157,{"$nulls":4},0,0,1]
[7.4,3.811,-0.157,{"$nulls":4},0,0,1]
[8.7,3.811,-0.157,{"$nulls":4},0,0,1]
[9.7,3.811,-0.157,{"$nulls":4},0,0,1]
[10.7,3.811,-0.157,{"$nulls":4},0,0,1]
[11.7,3.811,-0.157,{"$nulls":4},0,0,1]
[12.7,3.811,-0.157,{"$nulls":4},0,0,1]
[13.7,3.811,-0.157,{"$nulls":4},0,0,1]
[14.7,3.811,-0.157,{"$nulls":4},0,0,1]
[15.7,3.811,-0.157,{"$nulls":4},0,0,1]
[16.8,3.811,-0.157,{"$nulls":4},0,0,1]
[17.8,3.811,-0.157,{"$nulls":4},0,0,1]
[18.8,3.811,-0.157,{"$nulls":4},0,0,1]
[19.8,3.811,-0.157,{"$nulls":4},0,0,1]
[1.2,12.028,-0.07,{"$nulls":4},0,-1,0,"line 012A"," measure Y"," increasing Y"]
[2.2,12.028,-0.07,{"$nulls":4},0,-1,0]
[3.2,12.028,-0.07,{"$nulls":4},0,-1,0]
[4.4,12.028,-0.07,{"$nulls":4},0,-1,0]
[5.4,12.028,-0.07,{"$nulls":4},0,-1,0]
[6.4,12.028,-0.07,{"$nulls":4},0,-1,0]
[7.4,12.028,-0.07,{"$nulls":4},0,-1,0]
[8.7,12.028,-0.07,{"$nulls":4},0,-1,0]
[9.7,12.028,-0.07,{"$nulls":4},0,-1,0]
[10.7,12.028,-0.07,{"$nulls":4},0,-1,0]
[11.7,12.028,-0.07,{"$nulls":4},0,-1,0]
[12.7,12.028,-0.07,{"$nulls":4},0,-1,0]
[13.7,12.028,-0.07,{"$nulls":4},0,-1,0]
[14.7,12.028,-0.07,{"$nulls":4},0,-1,0]
[15.7,12.028,-0.07,{"$nulls":4},0,-1,0]
[16.8,12.028,-0.07,{"$nulls":4},0,-1,0]
[17.8,12.028,-0.07,{"$nulls":4},0,-1,0]
[18.8,12.028,-0.07,{"$nulls":4},0,-1,0]
[19.8,12.028,-0.07,{"$nulls":4},0,-1,0]
[1.2,11.898,-0.157,{"$nulls":4},0,0,1,"line 12B"," measure Z"," decreasing Z"]
[2.2,11.898,-0.157,{"$nulls":4},0,0,1]
[3.2,11.898,-0.157,{"$nulls":4},0,0,1]
[4.4,11.898,-0.157,{"$nulls":4},0,0,1]
[5.4,11.898,-0.157,{"$nulls":4},0,0,1]
[6.4,11.898,-0.157,{"$nulls":4},0,0,1]
[7.4,11.898,-0.157,{"$nulls":4},0,0,1]
[8.7,11.898,-0.157,{"$nulls":4},0,0,1]
[9.7,11.898,-0.157,{"$nulls":4},0,0,1]
[10.7,11.898,-0.157,{"$nulls":4},0,0,1]
[11.7,11.898,-0.157,{"$nulls":4},0,0,1]
[12.7,11.898,-0.157,{"$nulls":4},0,0,1]
[13.7,11.898,-0.157,{"$nulls":4},0,0,1]
[14.7,11.898,-0.157,{"$nulls":4},0,0,1]
[15.7,11.898,-0.157,{"$nulls":4},0,0,1]
[16.8,11.898,-0.157,{"$nulls":4},0,0,1]
[17.8,11.898,-0.157,{"$nulls":4},0,0,1]
[18.8,11.898,-0.157,{"$nulls":4},0,0,1]
[19.8,11.898,-0.157,{"$nulls":4},0,0,1]
[1.2,12.283,-0.07,{"$nulls":4},0,1,0,"line 13A"," measure Y"," decreasing Y"]
[2.2,12.283,-0.07,{"$nulls":4},0,1,0]
[3.2,12.283,-0.07,{"$nulls":4},0,1,0]
[4.4,12.283,-0.07,{"$nulls":4},0,1,0]
[5.4,12.283,-0.07,{"$nulls":4},0,1,0]
[6.4,12.283,-0.07,{"$nulls":4},0,1,0]
[7.4,12.283,-0.07,{"$nulls":4},0,1,0]
[8.7,12.283,-0.07,{"$nulls":4},0,1,0]
[9.7,12.283,-0.07,{"$nulls":4},0,1,0]
[10.7,12.283,-0.07,{"$nulls":4},0,1,0]
[11.7,12.283,-0.07,{"$nulls":4},0,1,0]
[12.7,12.283,-0.07,{"$nulls":4},0,1,0]
[13.7,12.283,-0.07,{"$nulls":4},0,1,0]
[14.7,12.283,-0.07,{"$nulls":4},0,1,0]
[15.7,12.283,-0.07,{"$nulls":4},0,1,0]
[16.8,12.283,-0.07,{"$nulls":4},0,1,0]
[17.8,12.283,-0.07,{"$nulls":4},0,1,0]
[18.8,12.283,-0.07,{"$nulls":4},0,1,0]
[19.8,12.283,-0.07,{"$nulls":4},0,1,0]
[1.2,12.413,-0.157,{"$nulls":4},0,0,1,"line 13B"," measure Z"," decreasing Z"]
[2.2,12.413,-0.157,{"$nulls":4},0,0,1]
[3.2,12.413,-0.157,{"$nulls":4},0,0,1]
[4.4,12.413,-0.157,{"$nulls":4},0,0,1]
[5.4,12.413,-0.157,{"$nulls":4},0,0,1]
[6.4,12.413,-0.157,{"$nulls":4},0,0,1]
[7.4,12.413,-0.157,{"$nulls":4},0,0,1]
[8.7,12.413,-0.157,{"$nulls":4},0,0,1]
[9.7,12.413,-0.157,{"$nulls":4},0,0,1]
[10.7,12.413,-0.157,{"$nulls":4},0,0,1]
[11.7,12.413,-0.157,{"$nulls":4},0,0,1]
[12.7,12.413,-0.157,{"$nulls":4},0,0,1]
[13.7,12.413,-0.157,{"$nulls":4},0,0,1]
[14.7,12.413,-0.157,{"$nulls":4},0,0,1]
[15.7,12.413,-0.157,{"$nulls":4},0,0,1]
[16.8,12.413,-0.157,{"$nulls":4},0,0,1]
[17.8,12.413,-0.157,{"$nulls":4},0,0,1]
[18.8,12.413,-0.157,{"$nulls":4},0,0,1]
[19.8,12.413,-0.157,{"$nulls":4},0,0,1]
[1.2,14.724,-0.07,{"$nulls":4},0,-1,0,"line 014A"," measure Y"," increasing Y"]
[2.2,14.724,-0.07,{"$nulls":4},0,-1,0]
[3.2,14.724,-0.07,{"$nulls":4},0,-1,0]
[4.4,14.724,-0.07,{"$nulls":4},0,-1,0]
[5.4,14.724,-0.07,{"$nulls":4},0,-1,0]
[6.4,14.724,-0.07,{"$nulls":4},0,-1,0]
[7.4,14.724,-0.07,{"$nulls":4},0,-1,0]
[8.7,14.724,-0.07,{"$nulls":4},0,-1,0]
[9.7,14.724,-0.07,{"$nulls":4},0,-1,0]
[10.7,14.724,-0.07,{"$nulls":4},0,-1,0]
[11.7,14.724,-0.07,{"$nulls":4},0,-1,0]
[12.7,14.724,-0.07,{"$nulls":4},0,-1,0]
[13.7,14.724,-0.07,{"$nulls":4},0,-1,0]
[14.7,14.724,-0.07,{"$nulls":4},0,-1,0]
[15.7,14.724,-0.07,{"$nulls":4},0,-1,0]
[16.8,14.724,-0.07,{"$nulls":4},0,-1,0]
[17.8,14.724,-0.07,{"$nulls":4},0,-1,0]
[18.8,14.724,-0.07,{"$nulls":4},0,-1,0]
[19.8,14.724,-0.07,{"$nulls":4},0,-1,0]
[1.2,14.594,-0.157,{"$nulls":4},0,0,1,"line 14B"," measure Z"," decreasing Z"]
[2.2,14.594,-0.157,{"$nulls":4},0,0,1]
[3.2,14.594,-0.157,{"$nulls":4},0,0,1]
[4.4,14.594,-0.157,{"$nulls":4},0,0,1]
[5.4,14.594,-0.157,{"$nulls":4},0,0,1]
[6.4,14.594,-0.157,{"$nulls":4},0,0,1]
[7.4,14.594,-0.157,{"$nulls":4},0,0,1]
[8.7,14.594,-0.157,{"$nulls":4},0,0,1]
[9.7,14.594,-0.157,{"$nulls":4},0,0,1]
[10.7,14.594,-0.157,{"$nulls":4},0,0,1]
[11.7,14.594,-0.157,{"$nulls":4},0,0,1]
[12.7,14.594,-0.157,{"$nulls":4},0,0,1]
[13.7,14.594,-0.157,{"$nulls":4},0,0,1]
[14.7,14.594,-0.157,{"$nulls":4},0,0,1]
[15.7,14.594,-0.157,{"$nulls":4},0,0,1]
[16.8,14.594,-0.157,{"$nulls":4},0,0,1]
[17.8,14.594,-0.157,{"$nulls":4},0,0,1]
[18.8,14.594,-0.157,{"$nulls":4},0,0,1]
[19.8,14.594,-0.157,{"$nulls":4},0,0,1]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}