## Dwg List
E. Chojnacki |  | Color Code: | 1-cavity HTC | HTC & Injector | 5-cavity Injector
Dwg | Description | Full Size = ANSI D (22"x34")
7110-001 | 8” Post Support
7110-001T | 8” Post Support. Assembly Fixtures and Sequence
7110-002 | 80K Shield
7110-003 | Vacuum Vessel
7110-004 | Beam Entrance Wall
7110-005 | Beam Exit Wall
7110-006 | Helium Gas Return Pipe
7110-007 | 80 K Cooling Pipes
7110-008 | Gate Valve At Beam Exit
7110-009 | HGRP Alignment Components
7110-010 | Vacuum Vessel Support
7110-011 | Wire Position Monitor Test Assembly
7110-012 | HTC Multi-Layer Insulation
7110-013 | Control Elements And Wires (Quigley)
7110-014 | Clean Room Assembly Fixtures (80-20 Kit) + 7110-034
7110-015 | Obsolete
7110-016 | Input Coupler (Warm) Assembly Fixtures
7110-017 | Test Cryomodule Assembly
7110-018 | Vacuum Vessel Assembly for Leak Test
7110-019 | 5 K Cooling Pipes
7110-020 | Warm-Up/Cool-Down Pipe
7110-021
7110-022
7110-023 | Magnetic Shield III (Outer)
7110-024 | Cold Mass Assembly
7110-025 | 2K Control Wires Tubing
7110-026 | Manufacturing Test Assembly
7110-027 | Support Post 5 K Flange Cooling
7110-028 | Jumpers for 5 K and 80 K Cooling
7110-029 | Beamline Components Assy I (inside clean room)
7110-030 | Horizontal Test Vacuum Vessel Assembly
7110-031 | WPM Weight Fixing Unit
7110-032 | (empty, available)
7110-033 | Beamline Components Assy II (outside clean room)
7110-034 | HGRP Assembly Fixture (80-20 Kit) included in 7110-014
7110-035 | 80K Cable Feedthrough Assy
7110-036 | 300K Cable Feedthrough Assy
7102-002 | Cavity w/He Vessel Cone Wall Preps
7102-003 | RF Input Coupler
7102-004 | Obsolete, Cavity Supports, replaced by 7102-032?
7102-005 | Tuner
7102-006
7102-007
7102-008
7102-009 | He Vessel Cone Wall Die Set
7102-010 | Cavity Weldment w/He Vessel Cone Walls
7102-011 | Finished Cavity w/He Vessel
7102-012
7102-013
7102-014
7102-015
7102-016 | Obsolete, Cavity He Vessel Bellows
7102-017 | Prototype 106mm HOM Load
7102-018 | Prototype 78mm HOM Load
7102-019 | Prototype 106mm HOM 1/2 Load
7102-020 | Test Cryostat for Input Coupler
7102-021 | N2 Cryostat for Coupler Test
7102-022 | Cavity Large Beampipe Die
7102-023 | Cavity Coupler Block Roughing
7102-024 | Fasteners and gaskets
7102-025 | Cavity Magnetic Shield I
7102-026 | Production 78mm HOM Load
7102-027 | Production 106mm HOM Load
7102-028 | Production 106mm HOM 1/2 Load
7102-029 | Coupler assembling fixtures
7102-030 | 2-Cell Cavity Assy I (couplers + supports inside clean room)
7102-031 | HOM Supports
7102-032 | Cavity Supports
7102-033 | Cavity RF Probes
7102-034 | 2-Cell Cavity Assembly II Right (Shield I + Tuner outside clean room)
7102-035 | 2-Cell Cavity Assembly II Left (Shield I + Tuner outside clean room)
7102-036 | Input Coupler 80 K Flange Cooling
7102-037 | Input Coupler 5 K Flange Cooling
7102-038 | 2 Phase 2 K Pipe
7102-039 | WPM Block
7102-040 | WPM Block Support On Cavity
7102-041 | Warm Coupler Storage Assembly
7102-042 | Magnetic Shield II
7102-043 | Input Coupler Waveguide Support
7102-044 | Input Coupler Pump Support
7102-045 | HOM-78 to Gate Valve Vacuum Chamber
7102-046 | Beam Exit Vacuum Chamber
7102-047 | Beam Entrance Vacuum Chamber
7102-048 | Vacuum Vessel Beam Tube Bellows Unit
7102-049 | Cryoline Transiton (Dan Sabol)
7102-050 | HGRP Beam Entrance Section
7102-051 | HGRP Middle Section
7102-052 | HGRP Beam Exit Section
7102-053 | Vacuum Vessel
7102-054 | Vacuum Vessel Assembly w/End Plates
7102-055 | Vacuum Vessel Assembly for Leak Test
7102-056 | HOM-106 Half Support
7102-057 | Gate Valve at Beam Entrance
7102-058 | 80 K Cooling Pipes
7102-059 | 5 K Cooling Pipes
7102-060 | Warm-Up/Cool-Down Pipe
7102-061 | Jumpers for 5 K and 80 K Cooling
7102-062 | Correction Magnet
7102-063 | Wire Position Monitor Assembly
7102-064 | 2 K Control Wires Tubing (similar to 7110-013)
7102-065 | Control Elements and Wires
7102-066 | 80 K Shield
7102-067 | Magnetic Shield III
7102-068 | Inj Multi-Layer Insulation
7102-069
7102-070
7102-071 | Clean Room Assembly Fixture (Jim & Phil)
7102-072 | Cold Mass Assembly Fixture (80-20 Kit)
7102-073 | Beam Line Components Assembly I (inside clean room)
7102-074 | Cold Mass Assembly (May be re-numbered)
7102-075 | ERL Injector Cryomodule Prototype (May be re-numbered)
7102-076 | Obsolete
7102-077 | Support Post 5 K Flange Cooling-II
7102-078 | Vacuum Vessel Insulation Pump Nipple
7102-079 | Obsolete
7102-080 | Beam Line Components Assembly II (outside clean room)
7102-081 | 80K Cable Feedthrough Assy
7102-082 | 300K Cable Feedthrough Assy
7102-083 | Coupler Outer Flange Vac Vessel
7102-084 | Cavity Probe RF Cables
7102-085 | Tuner Motor Heat Sink
7102-086 | Corrector Coil Heat Sink
7102-087 | 2K Control Wires Tubing Support
7102-088 | HOM Probe RF Cables
7102-089 | Injector Cryomodule Assy Step 0
7102-090 | Injector Cryomodule Assy Step 1
7102-091 | Injector Cryomodule Assy Step 2
7102-092 | Injector Cryomodule Assy Step 3
7102-093 | Injector Cryomodule Assy Step 4
7102-094 | Injector Cryomodule Assy Step 5
7102-095 | Injector Cryomodule Assy Step 6
7102-096 | Injector Cryomodule Assy Step 7
7102-097 | Injector Cryomodule Assy Step 8
7102-098 | Injector Cryomodule Assy Step 9
7102-099 | Injector Cryomodule Assy Step 10
7102-100 | Injector Cryomodule Assy Step 11
7102-101 | Injector Cryomodule Assy Step 12
7102-102 | Injector Cryomodule Assy Step 13
7102-103 | Injector Cryomodule Assy Step 14
7102-121 | 2K Control Wires Tubing 80K Heat Sink
7102-122 | Beam Entrance Vacuum Chamber Heat Sink
7102-199 | Scratch Injector Assembly