Student suggestions for improving C12: Microwave resonant circuits

2009/02/25: The function generator frequency is not stable. It appears that the knob for the frequency

- adjustment is worn; just touching it will change the frequency.

- 2009/02/25: The bolometer cable is loose and the indicated power still varies slightly as

- the cable is moved around. The cable should probably be replaced.

- 2009/02/25: A nameplate is needed for the setup. It is not clearly marked as C-12.